NBS Specification:



This product is associated with the following NBS Create clause:

90-05-20/320 Covers, gratings and frames for access chambers

NBS Specification:



This product is associated with the following NBS clauses:

[P31 Holes, chases, covers and supports for services](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Access-CoversKIGU600600Type3)

* [370 ACCESS COVERS/ GRATINGS FOR](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Access-CoversKIGU600600Type3)

Product Specification:

KIGU-600/450 – Type 2

 • Manufacturer: Kent Stainless

 Web: www.kentstainless.com

 Email: info@kentstainless.com

 Tel: +44 (0) 800 376 8377

 Fax: +353 53 914 1802

 Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

 • Product reference: In Ground Power Unit

 • Type: KIGU-600/450/450 – Type 2

 • Size: 600mm wide x 450mm Long x 450mm Deep x 70mm Deep Tray

 • Material: Grade 316L stainless steel/ Grade 304 Stainless steel

 • Loading: BS EN 124 B125 /FACTA B

 • Operation: Closed use

 • Power sockets: 16a/32a 240v 3 pin IP67 rated Sockets

 • Accessories: Meter/ RJ45 Datapoints/ XLR Sockets

Suggested Specification:

KIGU-600/450 – Type 2

 • Manufacturer: Kent Stainless

 Web: www.kentstainless.com

 Email: info@kentstainless.com

 Tel: +44 (0) 800 376 8377

 Fax: +353 53 914 1802

 Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

 • Product reference: In Ground Power Unit

 • Type: KIGU-600/450/450 – Type 2

 • Size: 600mm wide x 450mm Long x 450mm Deep x 70mm Deep Tray

 • Material: Grade 316L stainless steel/ Grade 304 Stainless steel

 • Loading: BS EN 124 B125 /FACTA B

 • Operation: Closed use

 • Power sockets: EP007 1nr 16a & 1nr 32a 240v 3 pin IP67 Sockets

 • Accessories: 2nr RJ45 Datapoints (DP002)