NBS Specification:



This product is associated with the following NBS Create clause:

NBS Specification:

NBS Buliding logo

This product is associated with the following NBS clauses:

[R11 Above ground foul drainage systems](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Internal-GulliesPneumaticGully)

* [315 FLOOR DRAINS](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Internal-GulliesPneumaticGully)

Product Specification:

Pneumatic Gully

• Manufacturer: Kent Stainless

Web: www.kentstainless.com

Email: info@kentstainless.com

Tel: +44 (0) 800 376 8377

Fax: +353 53 914 1802

Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

• Product reference: Side Outlet Double Contained Pneumatic Gully

• Type: KHCRPDC400/4"/6”RD /KVCRP400/6"RD

• Material: 1.4301 (304) stainless steel /1.4401 (316) stainless steel

• Loading class to BS EN 1253: L15 /R50 /M125 /N250 /P400 /Bespoke

• Operating:

- Opening: Double acting actuator /Single acting sprung in /Single acting sprung out

- Control: Remote (control room) /Rotary switch /Sprinkler activated

• Flow rate: Manufacturer's standard /Bespoke

• Flange type: ANSI B 16.5 /BS 4504 /Polypropylene /Holding flange /Puddle flange

• Grating: Sealed

• Filter basket: Not required /Required /Required, with chain /Required, with separate filter basket

• Accessories: None /Damp proof membrane

Suggested Specification:

Pneumatic Gully

• Manufacturer: Kent Stainless

Web: www.kentstainless.com

Email: info@kentstainless.com

Tel: +44 (0) 800 376 8377

Fax: +353 53 914 1802

Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

• Product reference: Double Contained Pneumatic Gully

• Type: KHCRPDC400/4"/6”RD

• Material: 1.4401 (316) stainless steel

• Loading class to BS EN 1253: M125

• Operating:

- Opening: Double acting actuator

- Control: Remote (control room)

• Flow rate: Manufacturer's standard

• Flange type: Holding Flange

• Grating: Sealed

• Accessories: None